## Slide 1
Drag and drop to insert full screen image into the background.
DISPENSING PROPANE SAFELY
Post Filling Cylinders
Notes: Place narration script for slide here

## Slide 2
Method determined at the local level
Federal + NFPA 58:

## Slide 3: Post-Filling Procedures

## Slide 4: Shipping Label

## Slide 5
Method determined at the local level

## Slide 6: Consumer Information Warning Labels

## Slide 8
Method determined at the local level

## Slide 9: Shutting Down a Dispenser

## Slide 10
Method determined at the local level

## Slide 11
Check Understanding

## Slide 12
place a new cylinder warning label on it.
have the customer sign a waiver.
orally deliver safety information.
contact the supervisor.
If a cylinder warning label is not legible or if the paper or plastic sleeve is removed during inspection, before releasing the cylinder to the customer, ___________.
Notes: If a cylinder warning label is not legible or if the paper or plastic sleeve is removed during inspection, before releasing the cylinder to the customer, ___________.
place a new cylinder warning label on it.
have the customer sign a waiver.
orally deliver safety information.
contact the supervisor.
Correct answer: place a new cylinder warning label on it.

## Slide 13
place a new cylinder warning label on it.
have the customer sign a waiver.
orally deliver safety information.
contact the supervisor.
If a cylinder warning label is not legible or if the paper or plastic sleeve is removed during inspection, before releasing the cylinder to the customer, ___________.
Notes: If a cylinder warning label is not legible or if the paper or plastic sleeve is removed during inspection, before releasing the cylinder to the customer, ___________.
place a new cylinder warning label on it.
have the customer sign a waiver.
orally deliver safety information.
contact the supervisor.
Correct answer: place a new cylinder warning label on it.

## Slide 14
20
33
45
100
Consumer information/warning labels must be on all portable refillable cylinders not filled on site and with _________ pounds propane capacity or less.
Notes: Consumer information/warning labels must be on all portable refillable cylinders not filled on site and with _________ pounds propane capacity or less.
20
33
45
100
Correct answer: 100

## Slide 15
20
33
45
100
Consumer information/warning labels must be on all portable refillable cylinders not filled on site and with _________ pounds propane capacity or less.
Notes: Consumer information/warning labels must be on all portable refillable cylinders not filled on site and with _________ pounds propane capacity or less.
20
33
45
100
Correct answer: 100

## Slide 16
total filled weight
shipping name and hazard class
personal protection equipment (PPE) requirements
no smoking warning
Regulations require that cylinders be labeled clearly with _________ .
Notes: Regulations require that cylinders be labeled clearly with ________.
total filled weight
shipping name and hazard class
personal protection equipment (PPE) requirements
no smoking warning
Correct answer: shipping name and hazard class

## Slide 17
total filled weight
shipping name and hazard class
personal protection equipment (PPE) requirements
no smoking warning
Regulations require that cylinders be labeled clearly with _________ .
Notes: Regulations require that cylinders be labeled clearly with ________.
total filled weight
shipping name and hazard class
personal protection equipment (PPE) requirements
no smoking warning
Correct answer: shipping name and hazard class

## Slide 18
Replace any old closing slide (with PERC or ELDT logos) with this slide.