**Dispensing Propane Safely – Purging New Cylinders**

**Pre-requisite:** Dispensing Propane Safety NFPA 58 (2020), Section 4.4

**OBJECTIVE:** The objective of OJT for this task is to (1) determine whether the student has the appropriate level of knowledge in performing this task and (2) to help the student reach a comfort level in performing this task so that they are confident when performing the task on their own.

**EQUIPMENT NECESSARY TO PERFORM THIS TASK:**  Vapor Source; Purging Equipment; Various Hand Tools

**TASK PERFORMED:**  Live in the Field  At Plant  By Simulation

**ADDITIONAL PROPS NECESSARY TO PERFORM THIS TASK BY SIMULATION:** Not Applicable; Assessment should be done at a live dispenser

**INSTRUCTOR GUIDANCE**: OJT assumes that the Dispensing Propane Safely program has been completed and knowledge test passing grade achieved. It is acceptable to coach and reinforce that knowledge in practical application to achieve the OJT Program objective.

Skill Verification:

Student can explain reasons when and why purging must be performed

Student can explain why not to use liquid propane to purge

Student identified an appropriate area for purging

Student can identify parts and pieces of purging equipment

Student demonstrated steps to accomplish purging

Cylinder left with 15 psig vapor in cylinder

Cylinder tested for leaks

Continue purging cylinders until proficient  Not Applicable

Student Name: Date:

Instructor Name: Signature: